## Slide 1
Electric dipole Transition moment

## Slide 3
Gas | v1, cm-1 | v2, cm-1 | v3, cm-1
H216O | 3657.1 | 1594.7 | 3755.9
H217O | 3653.2 | 1591.3 | 3748.3
H218O | 3649.7 | 1588.3 | 3741.6
HD16O | 2723.7 | 1403.5 | 3707.5
D216O | 2671.7 | 1178.4 | 2787.7
HT16O | 2299.8 | 1332.5 | 3716.6
T216O | 2237.2 | 995.4 | 2366.6

## Slide 4
Table 4.11: IR intensities for water. The values given are relative intensities, with the most intense assigned the value `1'. Theoretical and experimental values are from Yamaguchi et al. [161]. Frequencies are as obtained in this work. |  |  |  |  | 
ν | Relative Intensities |  |  |  | 
(cm) | Present | HF | HF | MP2 | Expt.
 |  | STO-3G | 6-311++G(3d,3p) | 6-31+G(d) | 
1598 | 1 | 0.163 | 1 | 1 | 1
3773 | 0.103 | 1 | 0.159 | 0.110 | 0.0371-0.0506
3883 | 0.904 | 0.677 | 0.945 | 0.664 | 0.860-0.891

## Slide 6
Powerpoint Templates
Elastic and Inelastic Scattering
Raman

## Slide 7
Rayleigh Scattering
vs
Raman Scattering

## Slide 10: Classical Raman Physics
Interaction between electric field of incident photon and molecule
  Electric field oscillating with incident frequency vi:
  Induces molecular electric dipole (p):
    Proportional to molecular polarizability, 
  Polarization results in nuclear displacement

## Slide 11
For small distortions, polarizability is linearly proportional to the displacement
Resultant dipole:
Rayleigh Scattering
Anti-Stokes Raman
Stokes Raman

## Slide 13
Roto-Vibrational Raman
ΔJ = 0 ± 2
Line Spacing 4B

## Slide 15
Ressonance Raman
Scattering effect enhanced by a factor 106

## Slide 16
Instrumentation

## Slide 19
Lasers
Ar+ ion 488.0 nm & 514.5 nm
Kr+ ion 530.9 nm & 647.1 nm
He:Ne 632.8 nm
Nd:YAG 1064 nm
Diode 630 nm & 980 nm
Resolution < 6 cm-1 →
Laser Linewidth < 1 cm-1
Wavelength Stabilization is a must have
(most common 785 nm NIR 300 mW

## Slide 22
Holographic notch filter